## Slide 1
Analysis of Real-World Data from a Solar-Equipped Smart Home
A data-driven exploration of influence factors on solar energy generation and consumption patterns
Stephan Herbert
4.11.2025

## Slide 2
Agenda
  Project context
  Planning & Technology Stack
  Data Sources & Energy Flow
  Research Hypotheses
  Hypotheses check
  Summary and recommendations
  About me

## Slide 3
About Me
Professional Background
Master degree in Mechanical engineering (TU Darmstadt)
7+ years of experience in the automotive industry (Continental in Frankfurt)
Specializing in NVH / Acoustics with growing expertise in data analysis using KNIME and Power BI.
Career Goal
Transitioning into Data Analyst / BI Analyst roles to leverage analytical skills in data-driven decision making.
Looking for jobs in Frankfurt / Rhein-Main area
Link to LinkedIn
Stephan Herbert
37 years old
Frankfurt am Main

## Slide 4
Topic
Private smart home data provided by a friend  Real-world data
Data set: electricity / heating + weather data (03/24 – 09/25)
Goal: visualize main insights + give recommendations to stakeholder
Stakeholder - Jürgen
Retired engineer and tech enthusiast
Continuously optimizing his smart home system
Motivation
Help Jürgen understand:
Key metrics and influence factors on his (smart) home
Optimize his system for better financial returns
PV = Photovoltaic
Project Context

## Slide 5
Planning & Technology Stack
Project Planning
JIRA Kanban board for task tracking and workflow organization.
Technology Stack
Python
Power BI
Streamlit
Jira
Gamma AI
PowerPoint

## Slide 6
Data Sources & workflow
Data Sources
Energy data from PV system and consumption
  9 CSV’s (one per sensor)
  1.5 years – every 10 min  Daily aggregations
Financial data from Jürgen's records
Weather data via OpenMeteo API
Aggregation
per day
API
per day
+ additional features
+ correlations
Power BI
Streamlit

## Slide 7
Energy Flow
Energy Flow System
Consumption = PV + Import – Export – (Charge – Discharge)
Import
Export
Consumption
PV Energy
Charge
Discharge
PV Modul
Inverter
Battery
House
Power Grid
PV = Photovoltaic
PV-generation over the day

## Slide 8
Research Hypotheses
1. Heating Usage
Heating is used even when outdoor temperature exceeds 15°C
2. Solar energy – Influence factors on PV-generation
Season/month has greater impact on PV generation than weather conditions
3. Energy Independence
Self-sufficiency is only achieved in Q2 and Q3
4. Optimization Potential  Payback Period
Even under best conditions, the system amortization time can only be reduced by 1 year compared to current conditions

## Slide 9
Hypothesis 1: Hot water & Heating usage
1.
2.
1. Hot water
1
2
Outliers of hot water usage:
  Vacation time?
  Sensor issue?
  “Only cold showers”?
Data quality matters – "NaN“-values sometimes zero consumption  missing data

## Slide 10
Hypothesis 1: Hot water & Heating usage
1. Hot water
2. Heating
Data quality matters – "NaN“-values sometimes zero consumption  missing data
Heating occasionally used too long (when temperature > X °C), but only ~X% savings potential
Outliers of hot water usage:
  Vacation time?
  Sensor issue?
  “Only cold showers”?
Heating used between October – June
Min-°C apparently more important than Mean-°C
Small saving potential for time frames with > 10°C_min
1. Heating Usage
Heating is used even when outdoor temperature exceeds 15°C

## Slide 11
Hypothesis 1: Hot water & Heating usage
1. Hot water
2. Heating
Data quality matters – "NaN“-values sometimes zero consumption  missing data
Heating used too long (on 78 “warmer” days), but only ~5 % savings potential (107 m³ out of 2181 m³)
Outliers of hot water usage:
  Vacation time?
  Sensor issue?
  “Only cold showers”?
Heating used between October – June
Min-°C apparently more important than Mean-°C
Small saving potential for time frames with T_min > 10°C and T_mean > 15 °C

## Slide 12
Hypothesis 2: Solar energy – Influence factors on PV-generation
1. Season / sunshine hours
2. Weather conditions
Solar energy highly correlates:
to sunshine hours (0.87)
to daylight hours (0.77)
Huge correlation to weather type (-0.47) cloud coverage per day (-0.62)
Cloudy  sunny weather:
  Q2 / Q3: up to -27 %
  Q1 / Q4: up to -83 %
PV = Photovoltaic
Higher correlation of solar energy to daylight hours (= season) than to weather type / cloud coverage
But: Weather conditions have severe influence too!
-83 %
-27 %
2. Solar energy – Influence factors on PV-generation
Season/month has greater impact on PV generation than weather conditions

## Slide 13
Hypothesis 2: Solar energy – Influence factors on PV-generation
1. Season / sunshine hours
2. Weather conditions
Solar energy highly correlates:
to sunshine hours (0.87)
to daylight hours (0.77)
Huge correlation to weather type (-0.47) cloud coverage per day (-0.62)
Cloudy  sunny weather:
  Q2 / Q3: up to -27 %
  Q1 / Q4: up to -83 %
PV = Photovoltaic
Higher correlation of solar energy to seasonal effects (daylight…) than to weather type / cloud coverage
But: Weather conditions have severe influence too!
-83 %
-27 %

## Slide 14
Hypothesis 3: Energy Independence
PV = Photovoltaic
April-August: >80% of days have 0-1 kWh grid import (note: “NaN” could be “no import” or sensor issue)
Except Dec & Jan: Every month shows at least 4 days with 0-1 kWh import, even in Q1 and Q4
1. Energy flow + Self-sufficiency %
2. Energy import
Consumed energy is quite stable (~ 9.4 kWh/day)
Import > 50% from October – February
Self-sufficiency >90% from May – August
Days without imports even in November + February
63 % of days with < 1 kWh import
3. Energy Independence
Self-sufficiency is only achieved in Q2 and Q3

## Slide 15
Hypothesis 3: Energy Independence
April-August: >80% of days have 0-1 kWh grid import (note: “NaN” could be “no import” or sensor issue)
Except Dec & Jan: Every month shows at least 4 days with 0-1 kWh import, even in Q1 and Q4
1. Energy flow + Self-sufficiency %
2. Energy import
Consumed energy is quite stable (~ 9.4 kWh/day)
Import > 50% from October – February
Self-sufficiency >90% from May – August
Days without imports even in November + February
63 % of days with < 1 kWh import

## Slide 16
Hypothesis 4: Optimization Potential  Payback period
1. …
2. …
…
…
PV = Photovoltaic
…
…
4. Optimization Potential  Payback Period
Even under best conditions, the system amortization can only be reduced by 1 year compared to current conditions

## Slide 17
Hypothesis 4: Optimization Potential  Payback period
1. Hardware
2. Yearly energy costs (Import)  Feed-in tariff (Export)
a.) Solar panels:
No space left!
b.) Shadow from tree:
Neighbor owns tree
No hardware optimizations (except electric vehicle)
Cheaper contract results in fewer yearly costs (- 90 €), but higher amortization time (> 3 years)
c.) Battery:
Current battery capacity = 9.6 kWh
Consumption per day (avg) = 9.4 kWh  Charged battery lasts for ~ 1 day
d.) Electric Vehicle :
Potential “big battery” in the future
~ 5000 – 6000 € invest!
a.) Feed-in tariff : Fixed for 20 years (0.082 € per kWh)
b.) Import costs:
Optimization potential: ~0.32 €/ kWh instead of 0.40 €/ kWh
BUT: fewer yearly costs  longer amortization time

## Slide 18
Heating optimization offers limited savings
Seasonal > weather influences on solar energy
Self-sufficiency achievable in all seasons
Amortization time highly driven by import costs
Monitor heating patterns during spring / autumn
Implement data validation checks [NaN values]
Regularly evaluate contracts to reduce yearly costs for import  feed-in tariffs
Summary & Recommendations
Main findings
Recommendations to Jürgen

## Slide 19
Interested in discussing data analytics, or career opportunities in BI?
Connect with me on
Thank you
for your attention!
LinkedIn
Stephan Herbert

## Slide 21
Export 